## ScenarioList
| Scenario_Name | ScenarioID | MC | Scenario_Tag
0 | MAV 1 zone 2024 | 1 | TRUE | M1
1 | SAT 1 zone 2024 | 2 | 0 | S1

## SystemList
| SystemID | System_Tag | System_Name
0 | 25 | MRA | MAV Rack - Area
1 | 26 | MRP | MAV Rack - Power (MW)
2 | 27 | SRA | SAT Rack - Area
3 | 28 | SRP | SAT Rack - Power (MW)
4 | 29 | MS | MAV site costs - per zone
5 | 30 | SS | SAT site costs - per zone
6 | 31 | PM | PERC Module cost - per W
7 | 32 | HM | HJT Module cost - per W
8 | 33 | TM | TOPCon Module cost - per W

## ScenarioSystemLink
| ScenarioSystemID | SystemID | InstallNumber | InstallDate | ScenarioID
0 | 1 | 25 | 150 | 2024 | 1
1 | 2 | 26 | 9 | 2024 | 1
2 | 3 | 29 | 1 | 2024 | 1
3 | 4 | 31 | 9000000 | 2024 | 1
4 | 5 | 27 | 100 | 2024 | 2
5 | 6 | 28 | 4.5 | 2024 | 2
6 | 7 | 30 | 1 | 2024 | 2
7 | 8 | 31 | 4500000 | 2024 | 2

## ComponentList
| BaselineCost_H | BaselineCost_L | AnnualMultiplier_H | CurrencyID | SystemID (from _ConfigurationCapexList) | BaselineYear | Component_Unit | ComponentID | AnnualMultiplier | BaselineCost | AnnualMultiplier_L | FutureCostMethod | Component_Name
0 | 0.22 | 0.17 | 0.9 | 2 | 31 | 2024 | W | 33 | 0.83 | 0.18 | 0.81 | AnnualMultiplier | PERC Module per W
1 | 0.02 | 0.005 | 0.9 | 2 | 33 | 2024 | W | 34 | 0.83 | 0.01 | 0.81 | AnnualMultiplier | TOPCon Module premium per W
2 | 0.04 | 0.01 | 0.9 | 2 | 32 | 2024 | W | 35 | 0.83 | 0.02 | 0.81 | AnnualMultiplier | HJT Module premium per W
3 | 3806.18 | 3806.18 | 1 | 2 | 0 | 2024 | MAV | 36 | 0.95 | 3806.18 | 0.9 | AnnualMultiplier | MAV Hardware per MAV (Not used)
4 | 1350.36 | 1350.36 | 0.95 | 2 | 0 | 2024 | MAV | 37 | 0.9 | 1350.36 | 0.85 | AnnualMultiplier | MAV Installation Labour per MAV (Not used)
5 | 4423.5 | 4423.5 | 1.05 | 2 | 0 | 2024 | SAT rack | 38 | 1 | 4423.5 | 0.95 | AnnualMultiplier | SAT Hardware per Rack (Not Used)
6 | 7576.88 | 7576.88 | 1.05 | 2 | 0 | 2024 | SAT rack | 39 | 1 | 7576.88 | 0.95 | AnnualMultiplier | SAT Installation Labour per Rack (Not used)
7 | 686432.98 | 686432.98 | 1.05 | 2 | 29 | 2024 | field | 40 | 1 | 686432.98 | 0.95 | AnnualMultiplier | Site costs per zone (MAV or SAT)
8 | 16.86 | 16.86 | 1.05 | 2 | 26 | 2024 | kW | 41 | 1 | 16.86 | 0.95 | AnnualMultiplier | BOS Electrical Installation per kW
9 | 50 | 50 | 1.05 | 2 | 26 | 2024 | kW | 42 | 1 | 50 | 0.95 | AnnualMultiplier | BOS Electrical hardware per kW
10 | 1 | 1 | 1.05 | 2 | 27 | 2024 | Index | 45 | 1 | 1 | 0.95 | AnnualMultiplier | Onsite Labour Cost Index
11 | 1 | 1 | 1.05 | 2 | 27 | 2024 | Index | 46 | 1 | 1 | 0.95 | AnnualMultiplier | BOS Hardware Cost Index

## SystemComponentLink
| UsageBaselineYear | UsageAnnualMultiplier_L | CostCategoryID | ComponentID | UsageAnnualMultiplier_H | Usage_H | SystemID | Usage_L | Config_Name (from Config_link) | Timing | Usage | UsageAnnualMultiplier | SystemComponentID
0 | 2024 | 0.8 | 11 | 46 | 1 | 3806.18 | 25 | 3806.18 | MAV Rack - Area | Installation | 3806.18 | 0.9 | 163
1 | 2024 | 0.8 | 12 | 45 | 1 | 1350.36 | 25 | 1350.36 | MAV Rack - Area | Installation | 1350.36 | 0.9 | 164
2 | 2024 | 0.98 | 14 | 41 | 1 | 1000 | 26 | 1000 | MAV Rack - Power (MW) | Installation | 1000 | 0.99 | 165
3 | 2024 | 0.98 | 13 | 42 | 1 | 1000 | 26 | 1000 | MAV Rack - Power (MW) | Installation | 1000 | 0.99 | 166
4 | 2024 | 0.98 | 11 | 46 | 1 | 4423.5 | 27 | 4423.5 | SAT Rack - Area | Installation | 4423.5 | 0.99 | 167
5 | 2024 | 0.98 | 12 | 45 | 1 | 7576.88 | 27 | 7576.88 | SAT Rack - Area | Installation | 7576.88 | 0.99 | 168
6 | 2024 | 0.98 | 14 | 41 | 1 | 1000 | 28 | 1000 | SAT Rack - Power (MW) | Installation | 1000 | 0.99 | 169
7 | 2024 | 0.98 | 15 | 40 | 1 | 1 | 29 | 1 | MAV site costs - per zone | Installation | 1 | 0.99 | 170
8 | 2024 | 0.98 | 15 | 40 | 1 | 1 | 30 | 1 | SAT site costs - per zone | Installation | 1 | 0.99 | 171
9 | 2024 | 0.98 | 13 | 42 | 1 | 1000 | 28 | 1000 | SAT Rack - Power (MW) | Installation | 1000 | 0.99 | 172
10 | 2024 | 1 | 1 | 33 | 1 | 1 | 31 | 1 | PERC Module cost - per W | Installation | 1 | 1 | 173
11 | 2024 | 1 | 1 | 33 | 1 | 1 | 33 | 1 | TOPCon Module cost - per W | Installation | 1 | 1 | 174
12 | 2024 | 1 | 1 | 33 | 1 | 1 | 32 | 1 | HJT Module cost - per W | Installation | 1 | 1 | 175
13 | 2024 | 1 | 1 | 35 | 1 | 1 | 32 | 1 | HJT Module cost - per W | Installation | 1 | 1 | 177
14 | 2024 | 1 | 1 | 34 | 1 | 1 | 33 | 1 | TOPCon Module cost - per W | Installation | 1 | 1 | 178

## CurrencyList
| To_AUD_H | CurrencyID | Currency_Name | To_AUD | To_AUD_L
0 | 1 | 1 | AUD | 1 | 1
1 | 1.45 | 2 | USD | 1.35 | 1.25

## CostCategoryList
| CostCategoryID | CostCategory_ShortName | CostCategory_Name
0 | 1 | Modules | Modules
1 | 2 | BOS Hardware | BOS Hardware
2 | 3 | MAV Lic | MAV Licencre
3 | 4 | Logistics | Logistics Darwin
4 | 5 | Site | System Deployment - Hardware
5 | 6 | NOT USED | NOT USED
6 | 7 | Maintenance | Maintenance
7 | 8 | Logistics | Logistics Site
8 | 9 | Elec BOS | Electrical BOS
9 | 10 | Allowances | EPC Overhead
10 | 11 | Mount Hardware | Mounting Hardware
11 | 12 | Mount Install | Mounting Installation
12 | 13 | Elec Hardware | Elec Hardware
13 | 14 | Elec Install | Elec Install
14 | 15 | Site Other | Site Other