## ScenarioList
| MC | Scenario_Name | Scenario_Tag | ScenarioID
0 | TRUE | MAV 1 zone 2024 | M1 | 1
1 | 0 | SAT 1 zone 2024 | S1 | 2

## SystemList
| System_Name | SystemID | System_Tag
0 | MAV Rack - Area | 25 | MRA
1 | MAV Rack - Power (MW) | 26 | MRP
2 | SAT Rack - Area | 27 | SRA
3 | SAT Rack - Power (MW) | 28 | SRP
4 | MAV site costs - per zone | 29 | MS
5 | SAT site costs - per zone | 30 | SS
6 | PERC Module cost - per W | 31 | PM
7 | HJT Module cost - per W | 32 | HM
8 | TOPCon Module cost - per W | 33 | TM

## ScenarioSystemLink
| ScenarioSystemID | InstallDate | SystemID | ScenarioID | InstallNumber
0 | 1 | 2024 | 25 | 1 | 150
1 | 2 | 2024 | 26 | 1 | 9
2 | 3 | 2024 | 29 | 1 | 1
3 | 4 | 2024 | 31 | 1 | 9000000
4 | 5 | 2024 | 27 | 2 | 100
5 | 6 | 2024 | 28 | 2 | 4.5
6 | 7 | 2024 | 30 | 2 | 1
7 | 8 | 2024 | 31 | 2 | 4500000

## ComponentList
| CurrencyID | SystemID (from _ConfigurationCapexList) | AnnualMultiplier_H | AnnualMultiplier_L | BaselineCost_L | BaselineYear | AnnualMultiplier | BaselineCost | Component_Unit | ComponentID | Component_Name | FutureCostMethod | BaselineCost_H
0 | 2 | 31 | 0.9 | 0.81 | 0.17 | 2024 | 0.83 | 0.18 | W | 33 | PERC Module per W | AnnualMultiplier | 0.22
1 | 2 | 33 | 0.9 | 0.81 | 0.005 | 2024 | 0.83 | 0.01 | W | 34 | TOPCon Module premium per W | AnnualMultiplier | 0.02
2 | 2 | 32 | 0.9 | 0.81 | 0.01 | 2024 | 0.83 | 0.02 | W | 35 | HJT Module premium per W | AnnualMultiplier | 0.04
3 | 2 | 0 | 1 | 0.9 | 3806.18 | 2024 | 0.95 | 3806.18 | MAV | 36 | MAV Hardware per MAV (Not used) | AnnualMultiplier | 3806.18
4 | 2 | 0 | 0.95 | 0.85 | 1350.36 | 2024 | 0.9 | 1350.36 | MAV | 37 | MAV Installation Labour per MAV (Not used) | AnnualMultiplier | 1350.36
5 | 2 | 0 | 1.05 | 0.95 | 4423.5 | 2024 | 1 | 4423.5 | SAT rack | 38 | SAT Hardware per Rack (Not Used) | AnnualMultiplier | 4423.5
6 | 2 | 0 | 1.05 | 0.95 | 7576.88 | 2024 | 1 | 7576.88 | SAT rack | 39 | SAT Installation Labour per Rack (Not used) | AnnualMultiplier | 7576.88
7 | 2 | 29 | 1.05 | 0.95 | 686432.98 | 2024 | 1 | 686432.98 | field | 40 | Site costs per zone (MAV or SAT) | AnnualMultiplier | 686432.98
8 | 2 | 26 | 1.05 | 0.95 | 16.86 | 2024 | 1 | 16.86 | kW | 41 | BOS Electrical Installation per kW | AnnualMultiplier | 16.86
9 | 2 | 26 | 1.05 | 0.95 | 50 | 2024 | 1 | 50 | kW | 42 | BOS Electrical hardware per kW | AnnualMultiplier | 50
10 | 2 | 27 | 1.05 | 0.95 | 1 | 2024 | 1 | 1 | Index | 45 | Onsite Labour Cost Index | AnnualMultiplier | 1
11 | 2 | 27 | 1.05 | 0.95 | 1 | 2024 | 1 | 1 | Index | 46 | BOS Hardware Cost Index | AnnualMultiplier | 1

## SystemComponentLink
| Usage_H | UsageAnnualMultiplier | CostCategoryID | SystemComponentID | ComponentID | SystemID | Usage | Usage_L | UsageBaselineYear | UsageAnnualMultiplier_L | UsageAnnualMultiplier_H | Timing | Config_Name (from Config_link)
0 | 3806.18 | 0.9 | 11 | 163 | 46 | 25 | 3806.18 | 3806.18 | 2024 | 0.8 | 1 | Installation | MAV Rack - Area
1 | 1350.36 | 0.9 | 12 | 164 | 45 | 25 | 1350.36 | 1350.36 | 2024 | 0.8 | 1 | Installation | MAV Rack - Area
2 | 1000 | 0.99 | 14 | 165 | 41 | 26 | 1000 | 1000 | 2024 | 0.98 | 1 | Installation | MAV Rack - Power (MW)
3 | 1000 | 0.99 | 13 | 166 | 42 | 26 | 1000 | 1000 | 2024 | 0.98 | 1 | Installation | MAV Rack - Power (MW)
4 | 4423.5 | 0.99 | 11 | 167 | 46 | 27 | 4423.5 | 4423.5 | 2024 | 0.98 | 1 | Installation | SAT Rack - Area
5 | 7576.88 | 0.99 | 12 | 168 | 45 | 27 | 7576.88 | 7576.88 | 2024 | 0.98 | 1 | Installation | SAT Rack - Area
6 | 1000 | 0.99 | 14 | 169 | 41 | 28 | 1000 | 1000 | 2024 | 0.98 | 1 | Installation | SAT Rack - Power (MW)
7 | 1 | 0.99 | 15 | 170 | 40 | 29 | 1 | 1 | 2024 | 0.98 | 1 | Installation | MAV site costs - per zone
8 | 1 | 0.99 | 15 | 171 | 40 | 30 | 1 | 1 | 2024 | 0.98 | 1 | Installation | SAT site costs - per zone
9 | 1000 | 0.99 | 13 | 172 | 42 | 28 | 1000 | 1000 | 2024 | 0.98 | 1 | Installation | SAT Rack - Power (MW)
10 | 1 | 1 | 1 | 173 | 33 | 31 | 1 | 1 | 2024 | 1 | 1 | Installation | PERC Module cost - per W
11 | 1 | 1 | 1 | 174 | 33 | 33 | 1 | 1 | 2024 | 1 | 1 | Installation | TOPCon Module cost - per W
12 | 1 | 1 | 1 | 175 | 33 | 32 | 1 | 1 | 2024 | 1 | 1 | Installation | HJT Module cost - per W
13 | 1 | 1 | 1 | 177 | 35 | 32 | 1 | 1 | 2024 | 1 | 1 | Installation | HJT Module cost - per W
14 | 1 | 1 | 1 | 178 | 34 | 33 | 1 | 1 | 2024 | 1 | 1 | Installation | TOPCon Module cost - per W

## CurrencyList
| CurrencyID | To_AUD | To_AUD_L | Currency_Name | To_AUD_H
0 | 1 | 1 | 1 | AUD | 1
1 | 2 | 1.35 | 1.25 | USD | 1.45

## CostCategoryList
| CostCategory_Name | CostCategory_ShortName | CostCategoryID
0 | Modules | Modules | 1
1 | BOS Hardware | BOS Hardware | 2
2 | MAV Licencre | MAV Lic | 3
3 | Logistics Darwin | Logistics | 4
4 | System Deployment - Hardware | Site | 5
5 | NOT USED | NOT USED | 6
6 | Maintenance | Maintenance | 7
7 | Logistics Site | Logistics | 8
8 | Electrical BOS | Elec BOS | 9
9 | EPC Overhead | Allowances | 10
10 | Mounting Hardware | Mount Hardware | 11
11 | Mounting Installation | Mount Install | 12
12 | Elec Hardware | Elec Hardware | 13
13 | Elec Install | Elec Install | 14
14 | Site Other | Site Other | 15