## ScenarioList
| ScenarioID | Scenario_Tag | Scenario_Name | MC
0 | 1 | M1 | MAV 1 zone 2024 | TRUE
1 | 2 | S1 | SAT 1 zone 2024 | 0

## SystemList
| System_Name | System_Tag | SystemID
0 | MAV Rack - Area | MRA | 25
1 | MAV Rack - Power (MW) | MRP | 26
2 | SAT Rack - Area | SRA | 27
3 | SAT Rack - Power (MW) | SRP | 28
4 | MAV site costs - per zone | MS | 29
5 | SAT site costs - per zone | SS | 30
6 | PERC Module cost - per W | PM | 31
7 | HJT Module cost - per W | HM | 32
8 | TOPCon Module cost - per W | TM | 33

## ScenarioSystemLink
| ScenarioID | SystemID | InstallDate | ScenarioSystemID | InstallNumber
0 | 1 | 25 | 2024 | 1 | 150
1 | 1 | 26 | 2024 | 2 | 9
2 | 1 | 29 | 2024 | 3 | 1
3 | 1 | 31 | 2024 | 4 | 9000000
4 | 2 | 27 | 2024 | 5 | 100
5 | 2 | 28 | 2024 | 6 | 4.5
6 | 2 | 30 | 2024 | 7 | 1
7 | 2 | 31 | 2024 | 8 | 4500000

## ComponentList
| Component_Name | ComponentID | FutureCostMethod | Component_Unit | AnnualMultiplier_H | CurrencyID | SystemID (from _ConfigurationCapexList) | BaselineCost | AnnualMultiplier_L | BaselineYear | BaselineCost_L | BaselineCost_H | AnnualMultiplier
0 | PERC Module per W | 33 | AnnualMultiplier | W | 0.9 | 2 | 31 | 0.18 | 0.81 | 2024 | 0.17 | 0.22 | 0.83
1 | TOPCon Module premium per W | 34 | AnnualMultiplier | W | 0.9 | 2 | 33 | 0.01 | 0.81 | 2024 | 0.005 | 0.02 | 0.83
2 | HJT Module premium per W | 35 | AnnualMultiplier | W | 0.9 | 2 | 32 | 0.02 | 0.81 | 2024 | 0.01 | 0.04 | 0.83
3 | MAV Hardware per MAV (Not used) | 36 | AnnualMultiplier | MAV | 1 | 2 | 0 | 3806.18 | 0.9 | 2024 | 3806.18 | 3806.18 | 0.95
4 | MAV Installation Labour per MAV (Not used) | 37 | AnnualMultiplier | MAV | 0.95 | 2 | 0 | 1350.36 | 0.85 | 2024 | 1350.36 | 1350.36 | 0.9
5 | SAT Hardware per Rack (Not Used) | 38 | AnnualMultiplier | SAT rack | 1.05 | 2 | 0 | 4423.5 | 0.95 | 2024 | 4423.5 | 4423.5 | 1
6 | SAT Installation Labour per Rack (Not used) | 39 | AnnualMultiplier | SAT rack | 1.05 | 2 | 0 | 7576.88 | 0.95 | 2024 | 7576.88 | 7576.88 | 1
7 | Site costs per zone (MAV or SAT) | 40 | AnnualMultiplier | field | 1.05 | 2 | 29 | 686432.98 | 0.95 | 2024 | 686432.98 | 686432.98 | 1
8 | BOS Electrical Installation per kW | 41 | AnnualMultiplier | kW | 1.05 | 2 | 26 | 16.86 | 0.95 | 2024 | 16.86 | 16.86 | 1
9 | BOS Electrical hardware per kW | 42 | AnnualMultiplier | kW | 1.05 | 2 | 26 | 50 | 0.95 | 2024 | 50 | 50 | 1
10 | Onsite Labour Cost Index | 45 | AnnualMultiplier | Index | 1.05 | 2 | 27 | 1 | 0.95 | 2024 | 1 | 1 | 1
11 | BOS Hardware Cost Index | 46 | AnnualMultiplier | Index | 1.05 | 2 | 27 | 1 | 0.95 | 2024 | 1 | 1 | 1

## SystemComponentLink
| Config_Name (from Config_link) | UsageBaselineYear | UsageAnnualMultiplier | Usage | Usage_L | UsageAnnualMultiplier_L | CostCategoryID | ComponentID | Timing | SystemID | SystemComponentID | UsageAnnualMultiplier_H | Usage_H
0 | MAV Rack - Area | 2024 | 0.9 | 3806.18 | 3806.18 | 0.8 | 11 | 46 | Installation | 25 | 163 | 1 | 3806.18
1 | MAV Rack - Area | 2024 | 0.9 | 1350.36 | 1350.36 | 0.8 | 12 | 45 | Installation | 25 | 164 | 1 | 1350.36
2 | MAV Rack - Power (MW) | 2024 | 0.99 | 1000 | 1000 | 0.98 | 14 | 41 | Installation | 26 | 165 | 1 | 1000
3 | MAV Rack - Power (MW) | 2024 | 0.99 | 1000 | 1000 | 0.98 | 13 | 42 | Installation | 26 | 166 | 1 | 1000
4 | SAT Rack - Area | 2024 | 0.99 | 4423.5 | 4423.5 | 0.98 | 11 | 46 | Installation | 27 | 167 | 1 | 4423.5
5 | SAT Rack - Area | 2024 | 0.99 | 7576.88 | 7576.88 | 0.98 | 12 | 45 | Installation | 27 | 168 | 1 | 7576.88
6 | SAT Rack - Power (MW) | 2024 | 0.99 | 1000 | 1000 | 0.98 | 14 | 41 | Installation | 28 | 169 | 1 | 1000
7 | MAV site costs - per zone | 2024 | 0.99 | 1 | 1 | 0.98 | 15 | 40 | Installation | 29 | 170 | 1 | 1
8 | SAT site costs - per zone | 2024 | 0.99 | 1 | 1 | 0.98 | 15 | 40 | Installation | 30 | 171 | 1 | 1
9 | SAT Rack - Power (MW) | 2024 | 0.99 | 1000 | 1000 | 0.98 | 13 | 42 | Installation | 28 | 172 | 1 | 1000
10 | PERC Module cost - per W | 2024 | 1 | 1 | 1 | 1 | 1 | 33 | Installation | 31 | 173 | 1 | 1
11 | TOPCon Module cost - per W | 2024 | 1 | 1 | 1 | 1 | 1 | 33 | Installation | 33 | 174 | 1 | 1
12 | HJT Module cost - per W | 2024 | 1 | 1 | 1 | 1 | 1 | 33 | Installation | 32 | 175 | 1 | 1
13 | HJT Module cost - per W | 2024 | 1 | 1 | 1 | 1 | 1 | 35 | Installation | 32 | 177 | 1 | 1
14 | TOPCon Module cost - per W | 2024 | 1 | 1 | 1 | 1 | 1 | 34 | Installation | 33 | 178 | 1 | 1

## CurrencyList
| To_AUD | Currency_Name | CurrencyID | To_AUD_L | To_AUD_H
0 | 1 | AUD | 1 | 1 | 1
1 | 1.35 | USD | 2 | 1.25 | 1.45

## CostCategoryList
| CostCategory_Name | CostCategoryID | CostCategory_ShortName
0 | Modules | 1 | Modules
1 | BOS Hardware | 2 | BOS Hardware
2 | MAV Licencre | 3 | MAV Lic
3 | Logistics Darwin | 4 | Logistics
4 | System Deployment - Hardware | 5 | Site
5 | NOT USED | 6 | NOT USED
6 | Maintenance | 7 | Maintenance
7 | Logistics Site | 8 | Logistics
8 | Electrical BOS | 9 | Elec BOS
9 | EPC Overhead | 10 | Allowances
10 | Mounting Hardware | 11 | Mount Hardware
11 | Mounting Installation | 12 | Mount Install
12 | Elec Hardware | 13 | Elec Hardware
13 | Elec Install | 14 | Elec Install
14 | Site Other | 15 | Site Other